## Civil
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks | image url
1 | CT&TE | RWS Scanner (Range 0-100%) |  | 1 | Water leakge detector | RWS11224460/TRAMEX | 30/08/2025 | HANDLE |  | /images/RWS Scanner.png
2 |  | UPV (Range 0.1-9999.9 µ/sec) |  | 1 | Ultrasonic pulse velocity meter for testing concrete quality, involving measuring the speed of ultrasonic waves | S.S.B Enterprises | 23/04/2015 | Calibration rod, Liquid pentrant, Battery |  | /images/UPV.png
3 |  | Accelerated Curing Tank (Temp 100 °C) |  | 1 | Accelerate the curing process of concrete | 355-1-A03/Aimil Ltd. | 2016-10-11 | - |  | /images/Accelerated Curing Tank.png
|  | Aggregate impact testing mechine (Hammer Weight 14Kg) |  | 1 | Aggregate impact test used to determines the aggregates hardness | 192768/Aimil Ltd | 2019-04-09 | Tamping Rod, Moulds |  | /images/Aggregate impact testing mechine.png
|  | Rebound Hammer Test (Rebound Values 10-100) |  | 1 | Measuring Quality of hardend concrete | 31001001/Aimil Ltd | 23/04/2015 | Rebound scale
|  | CTM (Capacity 500 kN) |  | 1 | Determine compresive strenth of specimens | 311E-MU-1/Aimil Ltd | 14-02-2020 | Base plates
|  | CTM (Capacity 3000 kN) |  | 1 | Determine compresive strenth of specimens | 320E-FA-03/Aimil Ltd | 14-02-2020 | Base plates
4 | SOM | UTM (capacity 2000kN) |  | 1 | Used to findout compression, Tensile and shear strenth of specimens | Aim-653-1/Aimil Ltd. | 26/02/2019 | Tensile test grips, Compressive test Platens, Bend test Fixtures
5 | GTE | Triaxial shear test ( Proving ring 2.5kN ) |  | 1 | Triaxial shear strength of soil refers to the soil's resistance to shear failure when subjected to confining pressure (all-around) and additional axial stress | Aimil-12105 | 31/03/2012 | Load frame, pressure system, base pedestal, top cap, rubber membrane, porous stones,dial gauges,proving ring.
6 |  | CBR ( Proving ring 50kN ) |  | 1 | The CBR (California Bearing Ratio) test evaluates soil strength for pavement design | Aimil-12580 | 2019-04-09 | CBR mold, surcharge weights, loading machine, proving ring, dial gauges, and a 50mm plunger.
7 |  | Direct shear ( Proving ring 2kN ) |  | 1 | The direct shear test is used in geotechnical engineering to quickly determine a soil's shear strength, specifically its cohesion (c) and angle of internal friction (φ) | Aimil-12863 | 28/02/12 | Shear box,loading frame,motorized actuator,dial gauges,proving ring.
8
9
10

## Mech
Demonstration Board Of MPFI System
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | CBT LAB | Workstations | Picture | 84 | Workstation-P310, Win10 Pro64 DG Win7 Pro64, Intel Core i5-6400, 8GB Non- ECC 2133MHz UDImm, AMD Firepro W2100-2 GB Graphic Card, DVI VG 2GB, 500GB SATA HDD 7200 rpm 3.5", Dual LAN Port, Cable Lock, Lenovo Opt Wheel Mouse USB, USB Full Keyboard India EN, Intrusion Switch TWR, 3 Year Onsite Warranty, No Optical Drive, E1922S 18.5" LED Backlit Wide Monitor, ThinkPad In-Ear Headphones with Microphone. | Win10 Pro64 DG Win7 Pro64 Lenovo | 2017 | -NA-
2 | AUTOMOTIVE 2 WHEELER LAB | Working Model Of Electronic Ignition System Of Two Wheeler (Kick Type & Handle Type) | #VALUE! | 1 | A working demonstration model showcasing the electronic ignition system of a two-wheeler with both kick-start and handle-start modes, including CDI unit, ignition coil, spark plug simulation, and complete wiring setup |  | 2017 | -NA-
3 |  | Cut Section Working Model Of Continuously Variable Transmission |  | 1 | A cut-section working model demonstrating the internal mechanism and power transmission process of a Continuously Variable Transmission (CVT) with visible pulley, belt, and ratio-change operation |  | 2017 | -NA-
4 |  | Cut Section Working Model Of Rotary Clutch Assembly Of Two Wheeler |  | 1 | A cut-section working model illustrating the internal operation of a two-wheeler rotary clutch assembly with clearly visible plates, springs, and engagement mechanism |  | 2017 | -NA-
5 |  | Working Model Of Electronic Ignition System Of Two Wheeler (Kick Type & Handle Type) |  | 1 | A working demonstration model showing the operational principles of a two-wheeler electronic ignition system with both kick-start and handle-start features, including CDI, ignition coil, spark plug simulation, and wiring setup |  | 2017 | -NA-
6 |  | Spark Plug Cleaner & Tester |  | 1 | A compact unit designed to clean spark plugs using abrasive blasting and test their firing performance under adjustable voltage conditions | Metafab | 2017 | -NA-
7 |  | Work Bench With Engine Jig |  | 1 | A sturdy workshop bench integrated with an engine mounting jig for secure holding, testing, and maintenance of various engines |  | 2017 | -NA-
8 |  | Model Of Cut Sectioned Engine Assembly With Clutch & Gearbox (Two WheelerWorking) |  | 1 | A functional cut-section model displaying the internal working of a two-wheeler engine assembly along with clutch and gearbox mechanisms for clear visualization and training |  | 2017 | -NA-
9 |  | Hydraulic Rams with Front wheel locking vice, Pneumatic Hanger, Parts Rack |  | 2 | A service setup comprising hydraulic rams with a front-wheel locking vice, a pneumatic hanger, and a parts rack for efficient lifting, securing, and organized maintenance of two-wheelers |  | 2017 | -NA-
10 | AUTOMOTIVE 4 WHEELER LAB | Wheel Alignment Machine Computerized 2D |  | 1 | A computerized 2D wheel alignment machine designed to measure and adjust vehicle wheel angles using digital sensors and real-time alignment software | Ampro | 2017 | -NA-
11 |  | Wheel Balancing Machine |  | 1 | A machine designed to detect and correct imbalance in vehicle wheels by measuring weight distribution and indicating precise correction points | Ampro | 2017 | -NA-
12 |  | Air Bag Simulator | #VALUE! | 1 | An educational training device designed to demonstrate the operation of automotive airbag systems. It includes an airbag module, crash sensors, triggering circuit, inflator simulation, and indicator system to safely replicate deployment. The simulator allows hands-on learning of sensor response, control unit function, and airbag inflation mechanics without actual combustion | Ampro | 2017 | -NA-
13 |  | Demonstration Board Of MPFI System |  | 1 | A training board designed to demonstrate the working of a Multi-Point Fuel Injection (MPFI) system. It includes fuel injectors, intake manifold, throttle body, sensors, ECU simulation, and wiring, allowing observation of fuel delivery, air-fuel mixture formation, and injector operation in a safe, hands-on learning environment |  | 2017 | -NA-
14 |  | Two Post Car Lift Capacity 4000 Kg |  | 1 | Lifting capacity (safe load): 4000 kg (≈ 4 metric tons) Lift type: Hydraulic (two-post or four-post depending on model) Motor power: ~ 2.2 kW Lifting height (maximum): ~ 1800–1900 mm (i.e. around 1.8–1.9 m) above ground for many 2-post lifts. |  | 2017 | -NA-
15 |  | Cut Section Working Model Of Singe Plate Clutch Assembly |  | 1 | A single plate clutch is one of the most widely used friction clutches in automobiles. It transmits power from the engine to the gearbox by engaging and disengaging the flywheel using a single friction plate. A cut-section working model is used for teaching purposes to visually demonstrate the internal components and working principle of the clutch. |  | 2017 | -NA-
16 | CNC LAB | JV 55 Vertical Machining Centre(Milling) Including: Voltage Stabilizer, Siemens 828D CNC System Suitable for Training Purpose | #VALUE! | 1 | JV 55 is a high-precision vertical machining center featuring 575×410×460 mm axis travel, BT-40 spindle, 6000 rpm speed, and a 20-tool ATC. It delivers 0.010 mm positioning accuracy, ±0.003 mm repeatability, and supports a 900×430 mm table with 400 kg load capacity. | LMW Limited(formerly Lakshmi Machine Works Limited) | 2017 | -NA-
17 |  | 840D SL/ 808D T /808D M Training Rack(Milling) |  | 2 | SINUMERIK 840D SL Control Panel High-end modular CNC control Suitable for advanced milling operations Supports multi-channel, multi-axis applications SINUMERIK 808D Milling (808D M) Compact CNC system for 3-axis milling Intended for training and entry-level machining SINUMERIK 808D Milling(808D T) Compact CNC system for 2-axis turning operations Supports both turning and milling simulation | LMW Limited(formerly Lakshmi Machine Works Limited) | 2017 | -NA-
18 |  | JV 55 Smarturn(Turning Centre) Including: Voltage Stabilizer, Siemens 828D CNC System Suitable for Training Purpose | #VALUE! | 1 | SMARTURN CNC lathe offers a 480 mm swing over bed, 200 mm max turning diameter, 262 mm turning length, and a 4500 rpm spindle with 5.5–8.3 kW power options. It includes an 8-station hydraulic turret, 30° inclined carriage, Siemens options, and a compact 2275×1640×1620 mm footprint weighing 2300 kg. | LMW Limited(formerly Lakshmi Machine Works Limited) | 2017 | -NA-
19 |  | 840D SL/ 808D T Training Rack (Turning) |  | 2 | The CNC Turning Training Rack (840D sl / 808D T) is a standalone, industrial-grade training module designed for teaching and demonstrating CNC turning operations using Siemens CNC controllers. It provides a complete lab environment to learn: CNC control interface Tool offset management Spindle control Axis jogging & referencing CNC part programming (ISO G-code) Dry-run simulation without machine risk | LMW Limited(formerly Lakshmi Machine Works Limited) | 2017 | -NA-
20 | MANUFACTURING WELDING | Welding Simulators For SMAW/GTAW/GMAW |  | 1 | SMAW (Shielded Metal Arc Welding / Stick Welding) GTAW (Gas Tungsten Arc Welding / TIG) GMAW (Gas Metal Arc Welding / MIG/MAG) Each process must include: Electrode/wire behavior simulation Arc initiation and arc length response Real-time heat input simulation Visual, audio, and tactile welding cues | Soldmatic | 2017 | -NA-
21 |  | Transweld 400 Welding Transformers (ARC) |  | 2 | Type: Air-cooled, single-phase / two-winding welding transformer Input Voltage: 415 V ± 10%, 50 Hz, 3-Phase KVA Rating: 15 – 18 kVA (typical depending on manufacturer) Rated Input Current: 35–40 A Insulation Class: H Power Factor: ≥ 0.9 | ESab | 2017 | -NA-
22 |  | D.C. Arc Welding Rectifier - RS 400 |  | 1 | Output Current Range: 60 – 400 A Rated Output @ Duty Cycle: 400 A @ 60% Duty Cycle 300–320 A @ 100% Duty Cycle Open Circuit Voltage (OCV): 65 – 75 V Welding Process: Manual Metal Arc (MMA/SMAW) Polarity: DCEN (Straight Polarity) DCEP (Reverse Polarity) Current Control: Stepless / Smooth Variable Control | ESab | 2017 | -NA-
23 |  | Auto K 400 (MIG) |  | 1 | Welding Current Range: 60 – 400 A Rated Output @ Duty Cycle: 400 A @ 60% Duty Cycle 315 A @ 100% Duty Cycle Open Circuit Voltage (OCV): 60–70 V Welding Process: MIG / MAG (GMAW), CO₂ Welding Polarity: DCEP (Reverse Polarity – Standard for MIG) | ESab | 2017 | -NA-
24 |  | Magmatic 250 (MIG) |  | 1 | Welding Current Range: 40 – 250 A Rated Output @ Duty Cycle: 250 A @ 60% Duty Cycle 200 A @ 100% Duty Cycle Open Circuit Voltage (OCV): 50–55 V Welding Process: MIG / MAG (GMAW), CO₂ welding Polarity: DCEP (Reverse Polarity – standard for MIG) | ESab | 2017 | -NA-
25 |  | Spot Welding Machine To 15 KVA With AllAccessories |  | 1 | Welding Type: Resistance Spot Welding Maximum Short-Circuit Current: 8,000 – 12,000 A (approx.) Welding Thickness Capacity: Mild Steel: Up to 2 + 2 mm Stainless Steel: Up to 1.5 + 1.5 mm Galvanized Sheets: Up to 1.2 + 1.2 mm Electrode Force: 150–300 kgf (depending on air supply pressure) Duty Cycle: 50% at rated capacity | Electra Koko - Tawa | 2017 | -NA-
26 |  | Gas Cutting Machine |  | 1 | Cutting Process: Oxy-Fuel Cutting (Oxygen + Acetylene/LPG) Cutting Thickness Capacity: Mild Steel: up to 100 mm (standard) Optional extension: up to 200 mm Cutting Speed: 100–1200 mm/min (variable based on thickness) Cutting Width: Up to 300 mm (machine torch movement range) | Electra Koko - Tawa | 2017 | -NA-
27 | REFRIGERATION & AIRCONDITIONING | Window A.C 1.5 Ton With R-22 (2 Star) With Stand/Frame |  | 1 | Nominal Capacity: 1.5 Ton (≈ 5.0 – 5.2 kW) Suitable Room Size: 150–180 sq. ft Star Rating: 2-Star (BEE Standard – R-22 refrigerant) | Blue Star | 2017 | -NA-
28 |  | Split A.C 1.5 Ton With R-22 Highwall Split (2 Star) With Stand/Frame |  | 1 | Nominal Capacity: 1.5 Ton (≈ 5.0–5.2 kW) Star Rating: 2-Star (BEE standard – older refrigerant system) Cooling Coverage: 150 to 180 sq. ft (typical) | Blue Star | 2017 | -NA-
29 |  | Cassette Air Conditioner Unit - 1.5TR With Stand/Frame |  | 1 | Nominal Capacity: 1.5 TR (≈ 5.2 kW) Cooling Type: Inverter / Non-inverter (as per make) EER / ISEER: 3.2 – 4.5 (model dependent) Airflow Rate: 600 – 750 CFM | Blue Star | 2017 | -NA-
30 |  | VRF IV Plus System Outdoor Unit Only With Inverter Compressor - 8HP With Stand/Frame |  | 1 | Nominal Capacity: 8 HP Cooling Capacity: ~22.4 kW (approx., manufacturer-dependent) Heating Capacity: ~25 kW (approx.) Operating Mode: Cooling/Heating (Heat Pump) | Blue Star | 2017 | -NA-
31 |  | Deep Freezer 100 L Carrying With R134 A,With Stand/Frame |  | 1 | Storage Volume: 100 Liters Temperature Range: –18°C to –25°C Cooling Type: Direct cooling / Static cooling Refrigerant: R134a (Non-CFC, eco-friendly) Refrigeration System: Hermetically sealed compressor | Blue Star | 2017 | -NA-
32 |  | Cold Room - 6000 BTU/hr |  | 1 | Capacity: 6000 BTU/hr (≈ 1.75 kW) Temperature Range: Chill Room: +2°C to +10°C Freezer Room: –15°C to –20°C (with suitable compressor upgrade) Refrigerant Type: R134a or R404A (environment-friendly options depending on application) | Blue Star | 2017 | -NA-
33 | ARC Lab | Computers |  | 40 | Win10 Pro64 DG Win7 Pro64, Intel Core i5-6400, 8GB Non- ECC 2133MHz UDImm | HP & Lenovo | 2019 | -NA-
34 |  | 4 D.O.F Magenetic Gripper Robot |  | 1 | Degrees of Freedom (DOF)- 4 (Base rotation, Shoulder, Elbow, Wrist pitch or roll) Payload Capacity - 100 g – 250 g Reach - 250 – 450 mm (joint center to gripper tip) | Igus | 2019 | -NA-
35 |  | 4 D.O.F Vaccum Gripper Robot |  | 1 | Degrees of Freedom (DOF)- 4 (Base rotation, Shoulder, Elbow, Wrist pitch or roll) Payload Capacity - 300 g – 1 kg Reach - 250 – 450 mm (joint center to gripper tip) | Igus | 2019 | -NA-
36 | Thermal Engineering Lab | Computerized 1 Cylinder 4 stroke Petrol Automotive engine with eddycurrent Dynamometer |  | 1 | Engine Number of cylinders: 1 Number of strokes: 4 Fuel: Petrol Rated power: 15.4 kW @ 8500 RPM Engine Dimensions Cylinder diameter: 67 mm Stroke length: 62.4 mm Connecting rod length: 144.5 mm Compression ratio: 9.5 : 1 Orifice diameter: 28 mm Dynamometer arm length: 210 mm | APEX Innovations Pvt Ltd | 2025 | -NA-
37 |  | Computerized 1 Cylinder 4 stroke Diesel water cooled engine with eddycurrent Dynamometer test set up, Port fuel injection with CNG Gas system, Port fuel injection with fuel injector |  | 1 | Engine No. of cylinders: 1 No. of strokes: 4 Cylinder diameter: 87.5 mm Stroke length: 110 mm Connecting rod length: 234 mm Orifice diameter: 20 mm Dynamometer arm length: 185 mm Fuel Type: Diesel Power: 3.5 kW Speed: 1500 RPM Compression ratio (CR) range: 12:1 to 18:1 | APEX Innovations Pvt Ltd | 2025 | -NA-
38 | IDEA Lab | Vinyl Cutter |  | 1 | Working area: 1400 mm × 1000 mm; 130 W Laser; Cutting area 4 × 3 ft | KK Laser Industry | 2025 | -NA-
39 |  | CNC Router 4x8 |  | 1 | Working area: 2500 × 1300 mm; 3.5 KW 24000 RPM; Working area 1500 mm × 3000 mm | KK Laser Industry | 2025 | -NA-
40 |  | Printer-Elegoo Saturn 4ultra 16K (SLA) |  | 1 |  | KOPP 3D Innovations (OPC) Private Limited | 2025 | -NA-
41 |  | Printer-Bamboo labs H2D AMS Combo (FDM) |  | 1 |  | KOPP 3D Innovations (OPC) Private Limited | 2025 | -NA-
42 |  | Printer- H2D A1 mini -Bamboo labs (FDM) |  | 1 |  | KOPP 3D Innovations (OPC) Private Limited | 2025 | -NA-
43 |  | 3D scanner-Raptor-X |  | 1 |  | KOPP 3D Innovations (OPC) Private Limited | 2025 | -NA-
44 |  | Laser Cutting Machine 1300mm x 900mm |  |  | Working area: 1400 mm × 1000 mm; 130 W Laser; Cutting area 4 × 3 ft | KK Laser Industry | 2025 | -NA-

## ECE
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | FPGA Design Labartory | DE 10-Lite Development and Education Board, for AUP (This items are donated by intel FPGA Academic program for the purpose of education evaluation). |  | 15 | DE10-Lite (Terasic) – Key Features FPGA • Intel (Altera) MAX 10 FPGA • Device: 10M50DAF484C7G • ~50K Logic Elements • On-chip ADC (8-channel, 12-bit) • On-chip flash configuration (no external config device needed) Memory • 64 MB SDRAM • 2 KB EEPROM User I/O • 10 slide switches • 2 push buttons • 10 red LEDs • 6 seven-segment displays Display & Multimedia • VGA output (via resistor DAC) • No onboard audio codec (unlike DE1-SoC) Communication & Interfaces • USB-Blaster (on-board) for programming/debug • Arduino-compatible header • 2× 40-pin GPIO headers • Accelerometer (3-axis, digital) • ADC input pins (via headers) Clocking • 50 MHz onboard oscillator • Additional clock pins available via GPIO Power • Powered via USB • Onboard power regulation Development Tools • Intel Quartus Prime Lite Edition • No processor or HPS (FPGA-only board) • Ideal for digital logic, Verilog/VHDL, ADC experiments, and intro FPGA labs Typical Uses • Digital design learning • State machines, counters, timers • VGA controllers • ADC & sensor interfacing • Arduino-style FPGA projects DE10-Lite (Terasic) – Key Features FPGA • Intel (Altera) MAX 10 FPGA • Device: 10M50DAF484C7G • ~50K Logic Elements • On-chip ADC (8-channel, 12-bit) • On-chip flash configuration (no external config device needed) Memory • 64 MB SDRAM • 2 KB EEPROM User I/O • 10 slide switches • 2 push buttons • 10 red LEDs • 6 seven-segment displays Display & Multimedia • VGA output (via resistor DAC) • No onboard audio codec (unlike DE1-SoC) Communication & Interfaces • USB-Blaster (on-board) for programming/debug • Arduino-compatible header • 2× 40-pin GPIO headers • Accelerometer (3-axis, digital) • ADC input pins (via headers) Clocking • 50 MHz onboard oscillator • Additional clock pins available via GPIO Power • Powered via USB • Onboard power regulation Development Tools • Intel Quartus Prime Lite Edition • No processor or HPS (FPGA-only board) • Ideal for digital logic, Verilog/VHDL, ADC experiments, and intro FPGA labs Typical Uses • Digital design learning • State machines, counters, timers • VGA controllers • ADC & sensor interfacing • Arduino-style FPGA projects | Altera | 2025 | Quartus prime 24.1
|  | DE1-soc Development and Education Kit, for AUP (This items are donated by intel FPGA Academic program for the purpose of education evaluation). |  | 5 | DE1-SoC (Terasic) – Features Overview Core Device • SoC FPGA: Intel (Altera) Cyclone V SoC • FPGA Fabric: ~110K Logic Elements, DSP blocks, PLLs • Hard Processor System (HPS): o Dual-core ARM Cortex-A9 (up to ~925 MHz) o Integrated peripherals (USB, Ethernet, UART, I²C, SPI, timers) Memory • 1 GB DDR3 SDRAM (HPS + FPGA shared) • 64 MB SDRAM (FPGA side) • 2 MB SRAM • QSPI Flash • MicroSD card slot User Input / Output • 10 slide switches • 4 push buttons • 10 red LEDs • 6 seven-segment displays • GPIO expansion headers Display & Multimedia • VGA output • Audio CODEC o Line-in, line-out o Mic-in, headphone-out Communication Interfaces • 10/100 Ethernet (RJ-45) • USB-OTG • USB-Blaster II (on-board) • UART over USB • PS/2 keyboard/mouse Clocking & Power • Multiple on-board clock sources • Integrated power management Development Support • Intel Quartus Prime • SoC EDS (bare-metal & Linux support) • Supports FPGA-only, HPS-only, and FPGA–HPS co-design Typical Applications • Embedded Linux systems • Hardware/Software co-design • Digital signal processing (DSP) • Computer vision & robotics labs | Altera | 2025 | Quartus prime 24.1
2 | QNX Lab | Raspberry Pi 4 | #VALUE! | 40 | Processor: Broadcom BCM2711, Quad-core Cortex-A72 (ARM v8) 64-bit SoC @ 1.8GHz. Memory: Available in 1GB, 2GB, 4GB, or 8GB LPDDR4-3200 SDRAM options. Video Output: Dual micro-HDMI ports, supporting up to 4Kp60 resolution. Connectivity: Gigabit Ethernet, 2.4/5.0 GHz dual-band 802.11ac wireless, Bluetooth 5.0, BLE. USB Ports: 2 x USB 3.0 ports and 2 x USB 2.0 ports for high-speed data transfer. Power: 5V DC via USB-C (minimum 3A), with PoE capability via an add-on HAT. Storage: Micro-SD card slot for OS and data. GPIO: Standard 40-pin GPIO header for hardware projects. Multimedia: H.265 (4Kp60 decode), H264 (1080p60 decode, 1080p30 encode). | Model B / Robocraze | 2025 | 32 GB Class 10 SD card MIcro HDMI Cable Raspberry PI 'C' Type power supply CP2102 USB to TTl Serial Converter Ethernet Cable Metal Case with double fan High Speed Micro SD card reader
3 | Programming Lab | Raspberry Pi 3 | #VALUE! | 8 | SoC: Broadcom BCM2837 CPU: 1.2GHz 64-bit Quad-Core ARM Cortex-A53 GPU: Broadcom VideoCore IV RAM: 1GB LPDDR2 SDRAM Networking: 10/100 Ethernet, 802.11n Wi-Fi (2.4GHz), Bluetooth 4.1 (BLE) USB: 4x USB 2.0 ports Video Output: Full-size HDMI, 4-pole stereo audio/composite video jack Camera/Display: CSI (Camera Serial Interface) and DSI (Display Serial Interface) ports Storage: MicroSD card slot GPIO: 40-pin header Power: 5V/2.5A via Micro USB | Model B | 2019 | Adapter, USB Cable, 16 GB memory Card, Card Reader Raspberry PI Touch Screen Display 7", Raspberry PI 5mp Camera Module, Raspberry PI Sense Hat
|  | Raspberry Pi 5 | #VALUE! | 1 | Processor: Broadcom BCM2712, 2.4GHz Quad-Core 64-bit ARM Cortex-A76 CPU (with L2/L3 caches). Graphics: VideoCore VII GPU, supporting OpenGL ES 3.1, Vulkan 1.2/1.3, dual 4Kp60 HDMI with HDR, 4Kp60 HEVC decode. RAM: Available in 1GB, 2GB, 4GB, 8GB, and 16GB LPDDR4X-4267 SDRAM options. Connectivity: o Dual-band 802.11ac Wi-Fi & Bluetooth 5.0 / BLE. o 2x USB 3.0 ports (5Gbps), 2x USB 2.0 ports. o Gigabit Ethernet (PoE+ HAT required). o PCIe 2.0 x1 (HAT required for M.2 SSDs). o 2x 4-lane MIPI camera/display transceivers. Storage: microSD card slot (SDR104 high-speed mode supported). Power: 5V/5A USB-C Power Delivery. New Features: Power button, Real-Time Clock (RTC), dedicated fan connector. Performance & Improvements: CPU/GPU: 2-3x faster CPU performance than Raspberry Pi 4 due to newer Cortex-A76 cores and VideoCore VII GPU. Memory: Faster LPDDR4X memory at higher speeds. I/O: PCIe interface allows for much faster NVMe SSDs (with an adapter). |  | 2025 | Adapter, USB Cable, 32 GB memory Card, Card Reader
|  | Arduino Uno | #VALUE! | 38 | IC: Microchip ATmega328P (8-bit AVR core) Clock Speed: 16 MHz (on Uno R1 to R3 boards), though IC supports 20 MHz maximum at 5 Volts. Flash memory: 32 KB, of which 0.5 KB used by the bootloader. SRAM: 2 KB. EEPROM: 1 KB. USART peripherals: 1 (Arduino software default configures USART as a 8N1 UART) |  | 2025 | USB cable , Adapter
|  | IOT Development Board | #VALUE! | 2 | Microcontroller: ATmega328P (8-bit AVR core) Operating Voltage: 5V Input Voltage (Recommended): 7–12V Input Voltage (Limits): 6–20V Digital I/O Pins: 14 (6 provide PWM output) Analog Input Pins: 6 Flash Memory: 32 KB (0.5 KB used by bootloader) SRAM: 2 KB EEPROM: 1 KB Clock Speed: 16 MHz USB Interface: Often utilizes the CH340G USB-to-Serial converter for lower cost, though some versions may use the ATmega16U2 DC Current per I/O Pin: 20 mA (40 mA max) DC Current for 3.3V Pin: 50 mA | Power Supply Adapter OLED display,LCD, Seven Segment Display Sensors: Ultrasonic Sensor, Humidity Sensor, Temperature Sensor Relay
|  | NODE MCU | #VALUE! | 51 | Microcontroller: Tensilica LX106 32-bit RISC CPU. Clock Speed: 80 MHz (can be boosted to 160 MHz). Wi-Fi: 802.11 b/g/n, 2.4 GHz, integrated TCP/IP stack, Wi-Fi Direct, SoftAP. Memory: 4MB Flash, 64KB SRAM. Digital I/O Pins: ~16 (multiplexed). Analog Input: 1 (10-bit ADC). Interfaces: 1x UART, 1x SPI, 1x I2C. Operating Voltage: 3.3V (with onboard 3.3V regulator). Input Voltage: 4.5-9V via VIN pin or Micro USB. USB-to-Serial: CP2102 or CH340G chip. Antenna: PCB Antenna. |  | USB cable , Adapter
4 | ECAD Lab | Cadence University Bundle Analog & Digital FE & BE (Software) 100 Licencses |  | 120 Users |  | Cadence | 2024
|  | Nexys 4 DDR-Artix-7 FPGA Board |  | 7 | FPGA Chip: Xilinx Artix-7 XC7A100T-1CSG324C Logic Slices: 15,850 (each with 4 six-input LUTs and 8 flip-flops) Block RAM: 4,860 Kbits of fast block RAM DSP Slices: 240 Clock Management Tiles: 6 (each with PLL support) Max Internal Clock Speed: >450 MHz On-chip ADC: Available for analog-to-digital conversion Memory & Storage DDR2 SDRAM: 128 MB (replacing older 16 MB CellularRAM) Quad-SPI Flash: 16 MB for configuration and data storage MicroSD Card Slot: For external storage and data transfer Connectivity & Interfaces USB-JTAG Programmer: Built-in for FPGA programming USB-UART Bridge: For serial communication Ethernet Port: 10/100 Mbps for networking applications Audio: Speaker amplifier, MEMs digital microphone, headphone jack Video: VGA port for display output Expansion Ports: Pmod connectors for additional modules Built-in Peripherals Accelerometer: 3-axis motion sensing Temperature Sensor: On-board monitoring Microphone: MEMs digital microphone for audio input Push Buttons & Switches: Multiple user I/O controls LEDs: 16 user LEDs for debugging and output display |  | 2019
|  | Xilinx Vivado System Edition (Software) |  | 25 users |  | Vivado | 2017
|  | Xilinx CPLD BASIC LAB KIT |  | 6 | • Device Family: Xilinx CoolRunner-II or XC9500XL CPLDs Logic Resources: Up to 3,000 system gates (depending on variant) 64–128 macrocells for logic implementation Product terms per macrocell: 36 (CoolRunner-II) Speed Grades: Commercial and industrial options available Clock Resources: Multiple global clocks supported I/O Pins: Typically 34–64 user I/Os depending on package Voltage Compatibility: 1.8V core, 3.3V I/O (CoolRunner-II) |  | 2004
|  | Xilinx FPGA BASIC LAB KIT |  | 6 | FPGA Device: Xilinx Artix-7 XC7A35T-1CPG236C Logic Cells: ~33,280 Slices: 5,200 (each with 4 six-input LUTs and 8 flip-flops) Block RAM: 1,800 Kbits DSP Slices: 90 Clock Management Tiles: 5 (with PLL support) Maximum Clock Frequency: >450 MHz |  | 2004
|  | Spartan 3E |  | 4 | Family Devices: XC3S100E, XC3S250E, XC3S500E, XC3S1200E, XC3S1600E System Gates: Ranges from 100K to 1.6M depending on device Logic Cells: From 2,160 (XC3S100E) up to 33,192 (XC3S1600E) Slices: 960 to 14,752 slices (each slice contains LUTs and flip-flops) Flip-Flops: 1,920 to 29,504 CLB flip-flops Block RAM: 4 to 72 blocks of 18 Kb each (up to 1,296 Kbits total) Distributed RAM: 15 Kbits to 231 Kbits Dedicated Multipliers: 4 to 36 (18×18 multipliers) Digital Clock Managers (DCMs): 2 to 4 per device for clock synthesis and management |  | 2009
|  | Nexys -2 |  | 1 | Logic Cells: ~10,476 Slices: 4,656 (each with LUTs and flip-flops) Block RAM: 288 Kbits (16 blocks of 18 Kbits each) Dedicated Multipliers: 20 (18×18 multipliers) Digital Clock Managers (DCMs): 4 for clock synthesis and management Maximum Clock Frequency: ~200 MHz |  | 2009
|  | Analog discovery kit |  | 1 | Oscilloscope: 2 differential analog input channels 14-bit resolution 125 MS/s sampling rate Bandwidth: ~9 MHz (without BNC adapter) Input range: ±2.5 V (5 Vpp) or ±25 V (50 Vpp) with adapter Waveform Generator: 2 analog output channels 14-bit resolution Up to 125 MS/s output rate Supports arbitrary waveform generation Logic Analyzer / Digital I/O: 16 digital channels Can be used for mixed-signal oscilloscope (MSO), pattern generation, or protocol analysis Power Supplies: Variable supplies: +0.5 to +5 V and -0.5 to -5 V Programmable for powering external circuits |  | 2015
|  | Zed Development board |  | 1 | Processor & FPGA SoC: Xilinx Zynq-7000 (Zynq-7020) CPU: Dual-core ARM Cortex-A9, 866 MHz FPGA Fabric: 85k logic cells, 560 KB block RAM, 220 DSP slices Memory DDR3 SDRAM: 512 MB Quad-SPI Flash: 128 MB SD Card Slot: Supports booting and storage Connectivity Ethernet: 10/100/1000 Mbps USB: USB OTG, USB-UART bridge JTAG: On-board USB-JTAG programming HDMI Output: For video applications VGA Output: Legacy display support Expansion & Interfaces FMC Connector: For FPGA Mezzanine Cards Pmod Ports: 6 connectors for Digilent Pmod peripherals GPIO: General-purpose I/O pins exposed Audio: Line in/out, headphone jack, microphone input Additional Features Clocking: Programmable oscillator Power: External supply or USB power LEDs & Switches: User LEDs, pushbuttons, slide switches for debugging Compatible Environments: Linux, Android, Windows, RTOS, and SDSoC development environment |  | 2018
4 | ACT Lab | Moku:Go | #VALUE! | 1 | 2 Analog I/O's Channels:02 Bandwidth : 30MHz into 1 Mohms Sampling Rate: 125 MSa/s per channels Accuracy : ± 5 mV ± 1% (10 Vpp input range) Resolution : 12-bit, Precision : 1 ± 1.22 mV (10 Vpp input range),Maximum voltage range : 50 V pp into 1 MΩ with 5X, attenuation Input impedance : 1 MΩ, typically | Spruha Build-in Solutions | 2023 | 12 V Magnetic power adaptor USB-C cable Ethernet cable 4 Channel power supply cables
5 | R&D Lab | DELTA HIGH Quality Programmable Spin Coater DELTASPIN-MC | #VALUE! | 1 | 1.Programmable Speed Range:500 to 11500 RPM 2.40 program can be strored 3.Programable duration Range:0.1 4.Acceleration:40 to 8000 RPM/Sec,+/-<1 error 5.Calibration facility is avilable,Max. No.of Step:16/Prog 6.Real time display of RPM,timing and program status on 4 line LCD Display 7.Micro procedure based LCD panel to show RPM, time program status | Delta scientific Equipment Pvt.Ltd | 2025
|  | Vacuum Check to hold substrate upto 3"diameter Direct drive 2 stage Oil free vacuum pump | #VALUE! | 1 | 1/4 HP,Max vacum 730 mm Hg,Max current:5A Voltage:230V AC,single phase,Max flow rate 1061/min with vacuum Vaccum Gauge weight:9Kg dimension:31 cm X 24 cm X 21 cm | Delta scientific Equipment Pvt.Ltd | 2025
8
9

## Min.E & PT
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | Environmental Engineering Lab | Ph meter | Picture | 1 | It features wide pH range (-2.00 to 20.00), multi-point auto calibration, ATC, data storage | (Model LMION-40) | 18-11-2020
2 | Environmental Engineering Lab | Haldane Apparatus | #VALUE! | 1 | To determine the percentages of gases, especially oxygen (O₂) and carbon dioxide (CO₂) | MICON ENGINEERING WORKS | 30-12-2016
3 | Mineral Processing Lab | Mineral Jig | #VALUE! | 1 | To separate valuable minerals from gangue based on density difference.commonly used for coal, iron ore, gold, and tin ores. | MICON ENGINEERING WORKS | 30-12-2016
4 | Mineral Processing Lab | Froth Flotation Cell | #VALUE! | 1 | Froth Flotation Cell separates valuable hydrophobic minerals from gangue by air bubbles in a slurry | MICON ENGINEERING WORKS | 30-12-2016
5 | Rock Mechanics Lab | Slake Durability Apparatus | #VALUE! | 1 | Slake Durability Test is a laboratory test used to assess the resistance of rocks to weakening and disintegration when subjected to repeated wetting and drying cycles. | MICON ENGINEERING WORKS | 28-06-2017
6 | Rock Mechanics Lab | Coal Pulverizer | #VALUE! | 1 | Coal Pulverizer is a mechanical device used to grind coal into fine powder for efficient combustion in Bomb calorimeter | CITADEL ENGINEERS PVT LTD | 27-03-2018
7 | Environmental Engineering Lab | SELF CONTAINED BERTHING APPARATUS (SCBA) | #VALUE! | 1 | It consists of a high-pressure air cylinder, pressure regulator, face mask, harness, and alarm system, and is widely used in firefighting, mining, and industrial rescue operations. | MICON ENGINEERING WORKS | 30-12-2016
8 | Environmental Engineering Lab | Gas Testing Chamber | #VALUE! | 1 | Gas Testing Chamber is a controlled enclosure used to detect, measure, and evaluate the concentration and behavior of gases under safe laboratory conditions. | MICON ENGINEERING WORKS | 30-12-2016
9 | Instrumentation and Process Control Lab | PC-PID based feedback Flow Level Pressure and Temperature Control Trainer with SCADA software | #VALUE! | 1 | The PC–PID Based Feedback Flow, Level, Pressure and Temperature Control Trainer is an advanced process control training system designed to provide hands-on experience in measurement, monitoring, and closed-loop control of industrial process variables. The system integrates industrial sensors, actuators, PID controllers, and SCADA software to simulate real-time plant operations under laboratory conditions. | SAP Engineers and Consultants | 18-07-2019
10 | Petroleum Reservoir Engineering Lab | Darcy's Law Apparatus | #VALUE! | 1 | The Darcy’s Law Apparatus is a laboratory setup designed to experimentally verify Darcy’s law, which governs the flow of fluid through porous media. The apparatus enables the study of the relationship between discharge, hydraulic gradient, permeability, and cross-sectional area under steady-state flow conditions. | KC Engineers PVT Ltd | 13-07-2019
11 | Petroleum Analysis Lab | Cloud and Pour Point Apparatus | #VALUE! | 1 | The Cloud and Pour Point Apparatus is a standard laboratory equipment used in petroleum refining, lubricating oil testing, and quality control laboratories to determine the low-temperature flow properties of petroleum products such as crude oil, diesel, lubricating oils, and fuels. | MicroMech Instruments | 15-05-2019
12 | Drilling Fluids Lab | Fann viscometer 355A | #VALUE! | 1 | The Fann Viscometer is a standard laboratory instrument used in the petroleum, drilling fluid (mud), and chemical industries to measure the rheological properties of fluids such as drilling muds, slurries, and suspensions. It determines parameters like plastic viscosity, apparent viscosity, yield point, and gel strength. | Gumpro Drilling Fluids PVT Ltd | 2013-12-10

## IOT Lab
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | internet of things lab | Raspberry Pi-4 with 2GB |  | 4 | Broadcom BCM2711 quad-core ARM Cortex-A72 64-bit processor • 2GB LPDDR4 SDRAM memory • Supports dual micro-HDMI display up to 4K resolution • Built-in Wi-Fi, Bluetooth 5.0, USB 3.0 ports, Gigabit Ethernet, and 40-pin GPIO |  | 13-08-2022 | BY HAND
2 |  | Node MCU ESP8266 |  | 8 | SP8266EX 32-bit microcontroller with clock speed up to 80/160 MHz • Built-in Wi-Fi (802.11 b/g/n) with TCP/IP protocol stack • Flash memory 4 MB, operating voltage 3.3 V • Supports UART, SPI, I2C interfaces with GPIO pins for sensors and modules | MODELVENDER ESP8266MOD | 13-08-2022 | BY HAND
3 |  | Arduino UNO |  | 8 | ATmega328P microcontroller operating at 16 MHz • Operating voltage 5 V with recommended input 7–12 V • 14 digital I/O pins (6 PWM) and 6 analog input pins • USB interface, power jack, 32 KB flash memory for program storage |  | 13-08-2022 | BY HAND
4 |  | Arduino UNO Cables |  | 8 | USB Type-A to Type-B cable for Arduino UNO connection • Used for program uploading and serial communication • Provides power supply to Arduino UNO from computer • Supports data transfer and power over USB connection |  | 13-08-2022 | BY HAND
5 |  | 32GB Sandisk memory card |  | 1 | Storage capacity of 32 GB for data, OS, and files • SD / microSD format (with adapter) based on usage • Class 10 speed for fast read and write operations • Compatible with devices like Raspberry Pi, cameras, and smartphones |  | 13-08-2022 | BY HAND
6 |  | Raspberry Pi-4 Power Adaptor |  | 4 | Output voltage: 5 V DC • Output current: 3 A (15 W) • USB Type-C connector for Raspberry Pi-4 • Provides stable and reliable power for proper operation |  | 13-08-2022 | BY HAND
7 |  | Temperature Sensor (LM35) |  | 10 | • Measures temperature in degree Celsius • Output voltage is linearly proportional to temperature (10 mV/°C) • Operating temperature range: −55 °C to +150 °C • Low power consumption and easy interface with microcontrollers |  | 13-08-2022 | BY HAND
8 |  | 5MM LED (Red & Green) |  | 10 | 5mm Bi‑Color Red & Green LED 5mm Bi‑Color LED Red Green (Common Cathode) 5mm Round Bi‑color LED Red‑Green 3Pin |  | 13-08-2022 | BY HAND
9 |  | Ultra Sonic Sensor |  | 10 | Operating voltage: 5V Measuring range: 2 cm to 4 meters Accuracy: ±3 mm Uses 40 kHz ultrasonic waves Outputs digital pulse proportional to distance Common applications: obstacle detection, distance measurement in robotics and automation | HC-SR04 | 13-08-2022 | BY HAND
10 |  | Development Board, 12V 1A Adaptor (Imported), PS/2 Keyboard, RTC, EEPROM, Zigbee Modules, 16×2 LCD, ADC for Raspberry Pi, Raspberry Pi Camera |  | 4 | Used for embedded system development, sensor interfacing, and real-time data processing. Enables wireless communication and data logging with Zigbee and EEPROM. Supports user interaction through keyboards and display with 16×2 LCD. Facilitates multimedia projects using Raspberry Pi camera and ADC for analog inputs. |  | 29-04-2023 | BY HAND
11 |  | ARM 7 BOARD |  | 4 | Embedded system design and development Robotics and automation control Real-time data processing and sensor interfacing Communication with peripherals via UART, SPI, I2C Industrial applications and IoT device prototyping |  | 29-04-2023 | BY HAND
12 |  | HDMI to VGA Converter |  | 6 | Connecting a modern laptop or PC with HDMI output to an older VGA monitor or projector. Using VGA projectors or displays in classrooms, offices, or presentations when only HDMI sources are available. Compatibility bridge for devices lacking VGA output. Extending display capabilities or dual monitor setups when VGA is the only input option on a screen. |  | 29-04-2023 | BY HAND
13 |  | Arduino Duemilanove Board |  | 6 | Robotics (obstacle avoidance) Distance & proximity measurement Water level sensing Automation systems Parking sensors |  | 29-04-2023 | BY HAND

## Ag.E
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/ Manfacturer | Year of Establishment/ Purchase | Accessories/ Tools Available | Remarks | image url
1 | Processing Lab | Feed Mixer- |  | 1 | Capacity: 25 kg/h, Used to mix different ingradents uniformly in animal feed or food formation it ensures consistent nutrient distribution | Isreal Agro Foods | 2017 | -NA- | Working | /images/Feed Mixer.png
2 |  | Pneumatic Separator |  | 1 | 10 kg/h, Used to seperate lighter and heaver particles using air flow. commonly removes husk, dust, and light particles | Isreal Agro Foods | 2017 | -NA- | Working | /images/Pneumatic Separator.png
3 |  | Mini Rice Mill |  | 1 | 5 kg/batch, Used to remove Husk and Bran from paddy to produce polish rice. it performes cleaning dehusking, and polshing. | Isreal Agro Foods | 2017 | -NA- | Working | /images/Mini Rice Mill.png
4 |  | Sieve Shaker |  | 1 | 2 kg/batch, Used to seperate particles based on size using different mesh sieves. it is mainly used for grading and quality analysis. | Isreal Agro Foods | 2017 | -NA- | Working | /images/Sieve Shaker.png
5 |  | Ball Mill |  | 1 | 500 g/batch, Used for fine grinding of hard materail material into power form. it works using rotating balls that crush the material. | Isreal Agro Foods | 2017 | -NA- | Working
6 |  | Deep Freezer |  | 1 | Capacity: 50 l, Used to store food materials at very low temperatures for long term preservation | Isha Foods | 2025 | -NA- | Working
7 |  | Sealing Machine |  | 1 | 240 Volts, Used to seal plastic poachers and packages. Air tight it prevents contamination and increase shelf life. | ENEM | 2025 | -NA- | Working
8 |  | Induction Stove |  | 1 | 240 Watt capacity, Used for heating and coocking samples using electroc magnitic energy. | Phillips | 2025 | -NA- | Working
9 |  | Micro weighing balance |  | 1 | 0.001 precision level, Used to mesure very small quantities with high accuracy. it is mainly used in Laboratory experiments and formations. | Unique Engineers | 2025 | -NA- | Working
10 |  | Slieve Shaker |  | 1 | Capacity:1 kg/batch,Used to separate particles based on size using different mesh sieves. It is mainly used for grading and quality analysis. | Isreal Agro Foods | 2017 | -NA- | Working
11 |  | Thermal Label Printer |  | 1 | 2 x 4'' width, Single roll per use, Used to print labels, barcodes, and product information on packages. It helps in product identification and packaging | Unique Engineers | 2025 | -NA- | Working
12 |  | Refractometer |  | 1 | 58 to 90 Brix, Used to measure sugar content (Brix value) in juices and syrups. It helps in quality control of beverages and fruits. | Unique Engineers | 2025 | -NA- | Working
13 |  | Weighing Balance |  | 1 | 150kg capacity, Used to measure the weight of materials and samples accurately. It is essential for formulation and experimental work. | Unique Engineers | 2025 | -NA- | Working
14 |  | Ph Meter |  | 1 | 1 to 14 scale,Used to measure acidity or alkalinity of food and liquid samples. It is important for quality control and food safety. |  | 2025 | -NA- | Working
15 |  | Fruit Washer | #VALUE! | 1 | 30 kg/h | Isha Foods | 2025 | -NA- | Working
16 |  | Blancher | #VALUE! | 1 | 100 liters/batch, (To cook and boil fruits and vegetables for various value addition processing) | Isha Foods | 2025 | -NA- | Working
17 |  | Milk Homogenizer and Pasteurizer | #VALUE! | 1 | 110 liters/ batch, (For processing of milk and milk based products) | Unique Engineers | 2018 | -NA- | Working
18 |  | Hot air Oven | #VALUE! | 1 | 5kg/ batch, (For drying of agro materials) | Unique Engineers | 2024 | -NA- | Working

## EEE
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | Electrical Measurements Lab | Dielectric oil testing Kit for HT line | #VALUE! | 2 | 0-60/80/100 kV | Neutronics Manufactures Ltd | 2019 | - | -
2
3
4
5
6
7
8
9

## Forensic Science
All Lab Equipments / Centres of Excellence
Sr. No. | Lab Name | Equipment Name | Image of the Equipment | No. of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | Questioned Document Lab | VSC (Video Spectral Comparator) Regula VSC 4305 DMH |  | 1 | Advanced instrument used in forensic document examination to analyze questioned documents under various light sources and filters | Regula VSC 4305 DMH/ Vajara Biometrix Pvt. Ltd. | 2017 | NA
2 | Questioned Document Lab | ESDA (Electrostatic Detection Apparatus) ESDA - 2 |  | 1 | To visualise the indented writing. ESDA is particularly useful for uncovering Impressions of hidden or erased writings, helping forensic experts recover vital evidence from questioned documents. | ESDA - 2/ Maruthi Scientific and Investigation products | 2019 | NA
3 | Questioned Document Lab | Trinocular Sterio Microscope Regula - 5003A- Belarus |  | 1 | Observation and digital imaging, making It is ideal for analysing trace, tool mark, and document evidence in forensic investigations. | Regula - 5003A- Belarus, Vajara Biometrix Pvt. Ltd. | 2019 | NA
4 | Questioned Document Lab | Dactylodcopic Magnifiers |  | 10 | Used to enlarge and study ridge details in fingerprints. | Vajara Biometrix Pvt. Ltd. | 2018 | NA
5 | Questioned Document Lab | Compact Device Regula |  | 10 | Portable forensic tool for document and security feature examination. | Regula/ Vajara Biometrix | 2018 | NA
6 | Questioned Document Lab | Magnifiers |  | 10 | Optical lenses used to enlarge small details or objects. | Vajara Biometrix Pvt. Ltd. | 2018 | NA
7 | Fingerprint Lab | RUVIS (Reflective Ultraviolet Imaging System) A-ZZ-FS-2-INDIA- Arrowhead |  | 1 | It is used in fingerprint and document examination to detect latent prints and other surface evidence without using powders or chemicals. It works by reflecting | A-ZZ-FS-2-INDIA- Arrowhead/ Vajara Biometrix Pvt. Ltd. | 2019 | Samsung Tab / Lenovo Laptop
8 | Fingerprint Lab | Path Finder A-6505K Arrowhead Forensics |  | 1 | To locate and visualise biological fluids, latent fingerprints, trace evidence, and document alterations | A-6505K Arrowhead Forensics/ Vajara Biometrix Pvt. Ltd. | 2019 | NA
9 | Fingerprint Lab | Reveal Forensic Field Kit A-FS 7 Arrowhead Forensics |  | 1 | Evidence collection, preservation, and preliminary analysis. It ensures systematic, contamination-free handling of physical, biological, and trace evidence directly at the scene. | A-FS 7 Arrowhead Forensics/ Vajara Biometrix Pvt. Ltd. | 2019 | NA
10 | Fingerprint Lab | Cynoacrylate Fuming Chamber A-2616CC - Arrowhead Forensics |  | 1 | The Cyanoacrylate Fuming Chamber is a controlled enclosure used to develop latent fingerprints on non-porous surfaces by polymerising cyanoacrylate vapours. | A-2616CC - Arrowhead Forensics/ Vajara Biometrix Pvt. Ltd. | 2019 | NA
11 | Fingerprint Lab | Iodine Fuming Chamber |  | 2 | Airtight enclosure for latent fingerprint development using iodine vapors. | Maruthi Scientific and Investigation products | 2018 | NA
12 | Forensic Physics and Ballistics Lab | Comparison Microscope RCM-22 / Radical Saientific |  | 1 | Comparing bullets, tool marks, fibres, and other trace evidence to establish a common origin or linkage. | RCM-22 / Radical Saientific/ Maruthi Scientific and Investigation products | 2019 | NA
13 | Instrumentation Lab | UV-Visible Spectroscopy SPECORD 200 PLUS |  | 1 | Analyze the concentration and purity of compounds in solutions, especially Drugs | SPECORD 200 PLUS / Analytik jena AG | 2019 | NA
14 | Instrumentation Lab | Compund Microscope MLX i - Plus |  | 5 | Optical instrument with multiple lenses for magnified specimen observation | MLX i - Plus, Suvarna Scientific Equipments | 2018 | NA
15 | Instrumentation Lab | Stereo microscope MSZ-B1 |  | 3 | Binocular microscope providing 3D view of specimen surface. | MSZ-B1, Suvarna Scientific Equipments | 2018 | NA
16 | Instrumentation Lab | UV Chamber |  | 2 | Enclosed unit for visualization using ultraviolet light. | Maruthi Scientific and Investigation products | 2019 | NA
17 | Instrumentation Lab | Muffle Fernance |  | 1 | High-temperature furnace for ashing and material decomposition. | Suvarna Scientific Equipments | 2019 | NA
18 | Instrumentation Lab | Incubator |  | 1 | Temperature-controlled chamber for microbial or biological growth. | Suvarna Scientific Equipments | 2019 | NA
19 | Instrumentation Lab | Autoclave |  | 1 | Pressurized steam chamber for sterilizing equipment and materials. | Suvarna Scientific Equipments | 2019 | NA
20 | Instrumentation Lab | Water Bath KZB-210 A |  | 1 | Heated container for maintaining constant sample temperature. | KZB-210 A | 2018 | NA
21 | Instrumentation Lab | Hot Air Oven |  | 1 | Dry heat chamber for sterilization and drying samples. | Suvarna Scientific Equipments | 2018 | NA
22 | Instrumentation Lab | Hot Plate |  | 1 | Flat heated surface for warming or heating samples. | Suvarna Scientific Equipments | 2017 | NA
23 | Instrumentation Lab | Microwave Oven |  | 1 | Appliance using microwaves for rapid heating or drying. | Maruthi Scientific and Investigation products | 2019 | NA
24 | Instrumentation Lab | Vortex Shaker |  | 1 | Device for rapid mixing of liquids in test tubes. | Maruthi Scientific and Investigation products | 2019 | NA
25 | Forensic Psychology Lab | Personality Inventory - 3 |  | 1 | Standardized test assessing personality traits and psychological functioning. | PrasadPSycho, Chennai | 2024 | NA
26 | Forensic Psychology Lab | Hand Scoring Kit English |  | 1 | Manual toolset for evaluating and scoring psychological tests. | PrasadPSycho, Chennai | 2024 | NA
27 | Forensic Psychology Lab | Bhatia Battery Performance Intelligence Test |  | 1 | Non-verbal test assessing intelligence through performance-based tasks. | PrasadPSycho, Chennai | 2024 | NA
28 | Forensic Psychology Lab | Rorschach Ink Blot Test |  | 1 | Projective test analyzing personality through Interpretation of inkblots. | PrasadPSycho, Chennai | 2024 | NA
29 | Forensic Bology Lab | UV Cabinets |  | 2 | Enclosed unit for visualization using UV light | Suvarna Scientific Equipments | 2017 | NA
30 | Forensic Bology Lab | SDS-PAGE mini comb gel system Vertical Slab Mini Gel Electrophorosis & power Suply Regular |  | 5 | To seperate the DNA, RNA, Proteins based on size. | Medox-BIO MX-1702-01 | 2024 | NA
31 | Forensic Bology Lab | Agarose Mini Combo Gel System Submarine Gel Electrophorosis & Power Supply Regular |  | 5 | Small Scale seperatation of the DNA. | Medox-BIO- MX- 1701-01 | 2024 | NA
32 | Cyber Security & Digial Forensics Lab | EnCase Forensic Suite Digital Forensic Tool |  | 1 | This tool is widely used for creating and extracting images of systems, mobile phones, and HDDs | EnCase | 2025 | NA
33 | Cyber Security & Digial Forensics Lab | Cellebrite UFED (Universal Forensic Extraction Device) Digital Forensics Tool Suite (hardware & software) |  | 1 | This tool is widely used for the analysis of Mobile data extraction | Celebrite UFED | 2025 | NA
34 | Cyber Security & Digial Forensics Lab | Computers INTEL (R) CORE (TM) i7-14700 GRAPHICS CARD 4GB RAM 32 1 TB SSD 2 TB SSD 64 BIT |  | 72 | Equipped Digital Workstation providing hands-on access to Forensic tools. Virtualized Learing Environment to explore cyber threat, forensic artefact and system vulnerabilities | INTEL (R) CORE (TM) i7-14700 GRAPHICS CARD 4GB RAM 32 1 TB SSD 2 TB SSD 64 BIT | 2025 | NA
35 | Chemistry Lab | PH Meter EQ - 614A |  | 1 | Measures acidity or alkalinity of solutions accurately. | EQ - 614A / Growwell Scientific & Surgicals | 2018 | NA
36 | Chemistry Lab | Coductivity Meter EQ -664A |  | 6 | Determines electrical conductivity of a solution. | EQ -664A/ Growwell Scientific & Surgicals | 2018 | NA
37 | Chemistry Lab | Potentio Meter EQ -602 |  | 6 | Measures electrical potential or voltage precisely. | EQ -602 / Growwell Scientific & Surgicals | 2018 | NA
38 | Chemistry Lab | Colori Meter EQ -650A |  | 4 | Measures color intensity and concentration accurately. | EQ -650A/ Growwell Scientific & Surgicals | 2018 | NA

## Pharmacy
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | UG Pharmaceutics | REFRACTOMETER |  |  | Refractive Index Measurment
2 |  | BULK DENSITY APPARATUS |  |  | Powder Volume Measurement
3 |  | HOT AIR OVEN |  |  | Drying Materials
4 |  | ANALYTICAL BALANCE |  |  | Weighing
5 |  | PH METER(ELICO) |  |  | PH Measurement
6 |  | PH METER(KSHITIJ) |  |  | PH Measurement
7 |  | DIGITAL BALANCE(INFRA) |  |  | Weighing
8 |  | VACCUM PUMP |  |  | Pressure reducer
9 |  | HOMOGENIZER |  |  | Uniform Mixture
10 |  | MECHANICAL AGITATOR |  |  | Stirring and Mixing
11 |  | TABLET HARDNESS TESTER -(PFIZER) |  |  | Force Measurement
12 |  | DISTILLATION EQUIPMENT |  |  | Separattion of liquid componentsComponents
13 |  | REFRIGERATOR |  |  | Preservation
14 |  | Digital balance |  |  | Weighing
15 | Machinary Lab | TABLET COATING MACHINE |  |  | For Coating of Tablets
16 |  | TABLET PUNCHING MACHINE |  |  | Compress powders into tables
17 |  | MOISTURE BALANCE |  |  | Water Content Measurement
18 |  | SIEVE SHAKER |  |  | For separate solids in size
19 |  | DOUBLE CONE BLENDER |  |  | Homogeneous powder mixing
20 |  | CAPSULE FILLING&SEALING MACHINE |  |  | Locking cap and Body
21 |  | HOMOGINIZER
22 |  | BOTTLE FILLING MACHINNE |  |  | Capping and Labeling
23 |  | BOTTLE SEALING MACHINE |  |  | Capping and Labeling
24 |  | COLLAPSIBLE TUBE FILLING MACHINE |  |  | Automate filling Semisolids
25 |  | AMPOULE FILLING &SEALING MACHINE |  |  | Filling sterile liquid drugs in glass ampoule
26 |  | AMPOULE CLARITY TEST EQUIPMENT |  |  | For Visuality Contaminant Inspect
27 |  | AMPOULE FILLING &SEALING MACHINE (MOTORISED) |  |  | Filling sterile liquid drugs in glass ampoule
28 |  | DISINTIGRATION RATE TEST APPARATUS |  |  | Tablet/Capsule Breakdown under Controlled Temperature
29 |  | FRIABILITY TEST APPARATUS
30 |  | DIGITAL PH METER
31 |  | MUFFLE FURNACE
32 |  | MECHANICAL AGITATOR
33 |  | MECHANICAL STIREER
34 |  | DISSOLUTION RATE TEST APPARATUS
1 | Pharm.D (Pharmaceutics and Chemistry) | Balances |  | 25 | WEIGHING | IN200/INFRA | 02-04-2012 & 30-03-2024 | NA | NA
2 |  | Disintegration test apparatus |  | 2 | EVALUATION OF TABLETS | KSHITHIJ | 23-04-2012 | NA | NA
3 |  |  |  | 6 | PH Measurement | IN200/ELICO | 31-03-2012 | NA | NA
4 |  | Hot air oven | Picture | 8 | Sample drying and sterilization | KI7056/KSHITHIJ | 23-04-2012 |  | NA
5 |  | Refrigator |  |  | STORING CHEMICALS | KENSTAR |  | NA | NA
6 |  | BROOK FIELD VISCOMETER |  | 2 | Measure fluid resitance to flow | IN200/INFRA | 25-11-2008 | NA | NA
7 |  | CONDUCTIVITY METER |  | 1 | For Concentration of Ions determinations | ELICO CM 180 | 23-11-2007 | NA | NA
8 |  | DIGITAL pH METTER |  | 6 | PH Measurement | ELICO LI 127 | 23-11-2007 | NA | NA
9 |  | Tray Dryer |  | 1 | For Drying of Pharmaceuticals |  |  | NA | NA
10 |  | DIGITAL TABLET DISSOLUTION TEST APPARATUS |  | 3 | For Drug dissolution rate | Lab India DS 800 | 2012-07-01 | NA | NA
11 |  | FLAME PHOTO METER |  | 2 | For metal ions concentration determination | SYSTRONIC128 | 29-07-2019 | NA | NA
12 |  | FLASH CHROMATOGRAPHY |  | 1 | Separation and Purification of compounds | Sepabean flash chromatography system and Model:SPBU1000100-1 | 2023-07-07 | NA | NA
13 |  | HIGH PRESSURE LIQUID CHROMATO GRAPH |  | 2 | For mixture separations | Agilent Technology1120 LC | 30-9-2008 | NA | NA
14 |  | NEPHELO METER |  | 2 | For Concentration of suspended particles in liquids/ gas | ELICO CL 52D | 16-9-2009 | NA | NA
15 |  | UV-VIS SPECTRO PHOTOMETER(ELICO SL 164) |  | 2 | For Determination of Concentrations and Purity of compound | ELICO SL 164 | 2012-12-09 | NA | NA
16 |  | UV-VIS SPECTRO PHOTOMETER (LAB INDIA UV 3000+) |  | 1 | For Determination of Concentrations and Purity of compound | LAB INDIA UV 3000+ | 2012-12-09 | NA | NA
17 |  | UV-VIS SPECTRO PHOTOMETER(SYSTRONICS 2202 ) |  | 1 | For Determination of Concentrations and Purity of compound | SYSTRONICS 2202 | 29-7-2019 | NA | NA
18 |  |  |  | 1 | For Water Content determination | SYSTRONIC 353 | 2008-07-02 | NA | NA
19 |  | GAS CHROMOTO GRAPHY |  | 1 | For Volatile Compound separation | BROOKER 436-GC & SCION 436-GC | 30-11-2012 | NA | NA
20 |  | FLUORIMETER(152) |  | 2 | For Flourescence measurement | SYSTRONIC 152 | 30-6-2016 | NA | NA
21 |  | UV CHAMBER |  | 1 | For Compound detection | KSHTIJ | 17-6-2019 | NA | NA
22 |  | ULTRA SONICATOR |  | 1 | For Mixing | BIOTECHNICS | 23-12-2019 | NA | NA
23 |  | Biochemical Analyser |  | 2 | For Analysis of biological Samples | STAR-20 | 2022-04-07 | NA | NA
24 |  | FTIR | #VALUE! | 1 | For functional groups identitification in chemical compounds | Alpha II Eco ATR (Lab India) | 09.06.2023 | NA | NA
25 |  | High Speed Homogenizer |  | 3 | For Mixing and particle conversion | CE and Model :AC220V 50HZ | 13-3-2024 | NA | NA
26 |  | DOUBLE BEAM UV -VIS SPECTROPHOTO METER |  | 1 | For Determination of Concentrations and Purity of compound | ELICO SL 210 | 14-10-2009 | NA | NA
27 |  | CONDUCTIVITY METER |  | 1 | Determination of Ion Concentration | ELICO CM 180 | 18-9-2009 | NA | NA
28 |  | FLAME PHOTO METER |  | 1 | Ion Concentration determination | ELICO CL 361 | 27-12-2007 | NA | NA
29 |  | NEPHELOMETER |  | 1 | Concentration of Suspended particles in gas and liquid | ELICO CL 52D | 16-9-2009 | NA | NA
30 |  | MECHANICAL AGITATOR |  | 1 | For homogenize liquids | KSHITIJ KI8590 | 08-12-2007 | NA | NA
31 |  | Tablet Coating Pan |  | 1 | For coatings (film or sugar) to tablets, pellets, or granules | kshitij innovations | 18-07-2011 | NA | NA
32 |  | Ointment filling machine |  | 2 | For accurately dose, fill | kshitij innovations | 18-07-2012 | NA | NA
33 |  | Centrifuge | #VALUE! | 3 |  | kshitij innovations CEN12 | 18-07-2013 | NA | NA
34 |  | Magnetic Stirrers |  | 10 | For stirring or mixing a solution, | kshitij innovations | 18-07-2011 | NA | NA
35 |  | FRIABILITY TEST APPARATUS (Double disk) |  | 1 |  | DOLPHIN FRB58 | 11-12-2008 | NA | NA
36 |  | HUMIDITY CHAMBER |  | 2 |  | KEMI KM786 | 21-09-2012 | NA | NA
37 |  | VACUUM PUMP |  | 1 |  | KSHITIJ FC0082 | 05-12-2007 | NA | NA
38 |  | Capsule filling machine |  | 1 |  | kshitij innovations |  | NA | NA
39 |  | Double cone blender |  | 2 |  |  |  | NA | NA
40 |  | = |  | 2 | to compress powder or granules into tablets of uniform size, shape, and weight | Model Cabpress-1 and Shakthi Pvt Ltd | 28.01.2011 | NA | NA
41 |  | BULK DENSITY APPARATUS |  | 1 |  | KSHITIJ BD231 | 08-12-2007 | NA | NA
42 |  | FRIABILITY TEST APPARATUS (single disk) |  | 2 | To Evaluate tabltes Strength & Durability |  |  | NA | NA
43 |  | ROTARY EVAPORATOR |  | 2 | Solvent extraction | EYELA N1300 | 14-07-2023 | NA | NA
44 | Pharmacology | ANALAGESIO METER | #VALUE! | 2 | o measure the pain-relieving properties of drugs on laboratory animals. | kshitij innovations CAT 2012-C | 18-03-2006 | NA | NA
45 |  | DIGITAL ACTO PHOTO METER | #VALUE! | 2 | measures small animals' spontaneous movement (locomotor activity) using light beams and sensors | kshitij innovations CAT 2002-C | 2008-10-01 | NA | NA
46 |  | DOUBLE UNIT ORGAN BATH | #VALUE! | 15 |  | kshitij innovations | 26-10-2006 | NA | NA
47 |  | ELECTRO CONVULSOMETER | #VALUE! | 2 | delivers controlled electric shocks to animals (like rats/mice) to induce seizures | kshitij innovations CAT 2080 | 27-07-2006 | NA | NA
48 |  | KYMOGRAPH |  | 38 | measure pressure, muscle movement | kshitij innovations | 26-10-2006 | NA | NA
49 |  | MICROSCOPES (OLYMPUS) | #VALUE! | 5 | view objects which are so tiny that they are invisible to naked eye. | kshitij innovations | 2007-11-05 | NA | NA
50 |  | POLE CLIMBING APPARATUS |  | 2 | neuropharmacology research | kshitij innovations CAT 2183 B | 2006-09-10 | NA | NA
51 |  | ROTA ROD THREE COMPARTMENT | #VALUE! | 1 | To measure motor coordination, balance, and endurance in rodents | kshitij innovations CAT 2195 B | 2008-10-01 | NA | NA
52 |  | Plethysmograph | #VALUE! | 1 |  | kshitij innovations | 16-08-2011 | NA | NA
53 |  | Biochemistry Analyzer | #VALUE! |  |  |  |  | NA | NA
54 |  | Deep Freezer (-20 Degrees C) | #VALUE! | 1 |  | "EFSC-340 Elanpro" | 07.07.2023 | NA | NA
55 |  | SPIROMETER | #VALUE! | 1 | for deep breathing exercises | kshitij innovations | 2006-08-10 | NA | NA
56 | Microbiology | AUTOCLAVE |  | 2 | For decontaminate biohazards | kshitij innovations | 11.05.2007 | NA | NA
57 |  | Digital colony counter | #VALUE! | 2 | For counting bacterial/fungal colonies on Petri dishes | IN-200 INFRA | 11.05.2007 | NA | NA
58 |  | Aseptic cabinet | #VALUE! | 1 |  | kshitij innovations | 27.11.2012 | NA | NA
59 |  | ANTIBIOTIC ZONE READER | #VALUE! | 2 |  | kshitij innovations |  | NA | NA
60 |  | BACTERIOLOGICAL INCUBATOR |  | 1 |  | kshitij innovations | 26.12.2007 | NA | NA
61 |  | BINACULAR MICROSCOPE |  | 1 |  | kshitij innovations | 11.05.2007 | NA | NA
62 |  | BOD INCUBATOR | #VALUE! | 3 |  | kshitij innovations |  | NA | NA
63 |  | COMPOUND MICROSCOPE |  | 15 |  | olympus oic | 11.05.2007 | NA | NA
64 |  | Membrane Filter | #VALUE! | 1 |  |  | 28.04.2009 | NA | NA
65 |  | LAMINAR AIR FLOW CHAMBER | #VALUE! | 2 |  |  |  | NA | NA
66 |  | ORBITAL SHAKER INCUBATOR | #VALUE! | 2 |  | kshitij innovations |  | NA | NA
67 | Biochemistry | Colori meter | #VALUE! | 5 | Measure optical density of the coloured solutions | Systronics type119 | 2007-10-11 | NA | NA
68 |  | Gel Electrophoresis system | #VALUE! |  |  | kshitij innovations KI-950 | 25-12-2007 | NA | NA
69 | Pharmacognosy | Autoclave |  |  |  | Kilab 6605 | 2007-08-12 | NA | NA
70 |  | Camera lucida (Mirror & Prism type) | #VALUE! | 1+1 |  | Fortune deluxe | 13-10-2011 | NA | NA
71 |  | prism type | #VALUE! |  |  |  |  | NA | NA
72 |  | Percolators | #VALUE! | 12 | For Extraction | kshitij innovations | 22.04.2009 | NA | NA
73 |  | Clevenger apparatus | #VALUE! |  |  |  |  | NA | NA
74 |  | Moisture balance | #VALUE! |  |  | kshitij innovations | 2008-10-07 | NA
75 |  | Muffle furnace | #VALUE! | 2 |  | KMFI 4P | 29-9-2007,11-12-2007 | NA | NA
76 |  | Soxhlet Apparatus | #VALUE! | 5 | For Extraction | kshitij innovations | 09.05.2010 | NA | NA
77 |  | vacuum pump | #VALUE! | 2 |  | Fortune deluxe | 2007-02-12 | NA | NA
78 |  | U.V Chamber | #VALUE! |  |  | 820/66614 | 29-8-2016 | NA | NA
79 |  | Projection Microscope | #VALUE! |  |  | kshitij innovations | 28-7-2018 | NA | NA
80 | Pharmacology | Rota Rod Apparatus – 5 stationary | #VALUE! |  |  |  |  | NA | NA
81 |  | Trinocular Microscope Phase Contrast | #VALUE! | 1 |  | kshitij innovations | 17-07-2014 | NA | NA
82 |  | MICROSCOPES | #VALUE! |  |  | kshitij innovations | 2007-02-01 | NA | NA
83 |  | Haematology Analyzer | #VALUE! | 1 |  | HA-23 Plus Avecon |  | NA | NA
84 | Computer & Language Lab | Desktop Computers |  | 54 | Processor: Intel Pentium® G2020 @ 2.90 GHz, Dual-core CPU suitable for language learning software & basic computing, RAM: 2–4 GB (as per installation batch), Storage: 250–500 GB HDD, Operating System: Windows (licensed), Monitor: 18.5” LED / LCD, Integrated graphic, USB, LAN, Audio ports, Suitable for language lab modules, browsing & learning tools | Intel Pentium(R) G2020 (2.90 GHz) | 2013 | NA | NA

## AIML
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | NA | NA | NA | NA | NA | NA | NA | NA | NA
2
3
4
5
6
7
8
9

## CSE
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | NA | NA | NA | NA | NA | NA | NA | NA | NA
2
3
4
5
6
7
8
9

## IT & DS
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | NA | NA | NA | NA | NA | NA | NA | NA
2
3
4
5
6
7
8
9

## MCA
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | NA | NA | NA | NA | NA | NA | NA | NA | NA
2
3
4
5
6
7
8
9

## SoB
All Lab Equipments / Centres of Excellence
S.No | Lab Name | Equipment Name | Image of the Equipment | No.of Equipment | Specifications/Technical Details | Model Number/Manfacturer | Year of Establishment/Purchase | Accessories/Tools Available | Remarks
1 | NSE Simuation lab | Computers |  | 31 Computers | 13th Gen Intel(R) Core(TM) i5-13500 2.50 GHz, 16 GB RAM, 128 MB graphics card, 500 GB SSD storage | HP | 2025 | NA
2
3
4
5
6
7
8
9